EE3301 - Analog electronics   - Done in electronics and instrument lab

Lab 1  The Operation of Semiconductor Diodes and their Practical Applications

EQUIPMENT NEEDED:

    Breadboard

    Variable power supply

    IN4007 Diode, Zener Diode

    Resistors – 1 kΩ, 470 Ω, 100 kΩ

    Capacitors – 10 µF, 47 µF

    230 /6 V Transformer

23    Function Generator

    Oscilloscope

Lab 2Laboratory 02

Basic Amplifiers and Biasing

EQUIPMENT NEEDED:

    Dual Trace Oscilloscope

    Signal Generator

    Digital Multi-meter

    Dual Power Supply

    2N2222 transistors

    1 potentiometer of 1 MΩ

    Resistors

    Capacitors

    Project board

    Milli ammeter

    Micro ammeter

Laboratory 03

Operational Amplifiers and Applications

EQUIPMENT NEEDED:

    741 Op-Amp

    Resistors (1K,10K,18K,1M )

    DC voltage Supply

    Capacitor (10 nF)

    Bread board, Multi-meter, and connecting wires.

    Function Generator

    Digital Storage Oscilloscope

Laboratory 04

Oscillators and Analog Filters

EQUIPMENT NEEDED:

    Transistor

: BC108

    Inductors

: 40μH , 5.5 μH

    Potentiometer

: 200k

    Capacitor        : 2.2 μH(02) , 0.002 μH(02) , 0.1 μH(02) , 0.33 μH(02) ,   1000pF(02) , 0.001 μH(02)

    Resistors         : 1 kΩ(03) , 560 Ω , 1.2 kΩ , 56 kΩ , 10 kΩ(02) , 27 kΩ, 120 kΩ , 270 kΩ , 470 kΩ , 8.2 kΩ , 820 Ω , 5.6 kΩ ,   22 kΩ(02)

    Signal Generator

    Dual trace oscilloscope

    Dual power supply

    Project board

    741 Op-amp

    555 timer

EE4306- Engineering Electromagnetis   communications and systems lab.

Lab 1 Study of Basic Electromagnetics Principles

EQUIPMENT NEEDED:

1.   Induction test ring

2.   Coil

3.   Fixed conductors

4.   Movable conductor

5.   Oblong permanent magnet

6.   Magnetic flat form ring

7.   2 Plotting compass

8.   Two coil

129.   Steel rod

10. Ferrite rod

11. Digital Multimeter

12. Solenoid test ring

Lab 2 Study on Antenna Types and Beam Patterns

Equi matlab in the information lab

EE3203 Electrical and electronic measurements   done in measuremnts lab

Lab 1   Laboratory 1

Measurements using DC and AC Bridges

EQUIPMENT NEEDED:

1. Digital Multimeter

2. 12V DC power supply

3. Potentiometers

4. Signal Generator

5. Resistors, Capacitors and Inductors

Lab2 Laboratory 2

Oscilloscope Probe Testing

EQUIPMENT NEEDED:

•    Oscilloscope (Feedback 20 MHz)

•    Probe (KENWOOD, PC-54)

•    Signal Generator

•    Connectors

•    Resistor (47 kΩ)

•    Plastic screw adjuster

Lab 3 Laboratory 3

Measurements using Spectrum Analyzer

EQUIPMENT NEEDED:

•    Spectrum Analyzer

•    Digital Storage Oscilloscope

•    Signal Generator

EE3306: SIGNALS AND SYSTEMS   in Communicans and systems lab

Lab 1

Analog / Digital conversion

COMPONENT NEEDED:

•    Oscilloscope

•    Dual Power Supply

•    OP AMP 741

•    Encoding Unit

•    Resistors: 1kΩ, 1.5kΩ, 2kΩ, 4kΩ

•    Bread Board

EE4301- Communication System 1    in communivation systems lab

Laboratory 1

Amplitude Modulation

EQUIPMENT NEEDED:

1.   Modulation Board

2.   Demodulation Board

3.   Signal Generator

4.   Digital Oscilloscope

5.   Spectrum Analyzer

6.   Multi-meter

Laboratory 2

Frequency Modulation (FM)

EQUIPMENT NEEDED:

•    Modulation Board

•    Demodulation Board

•    Signal Generator

•    Digital Oscilloscope

•    Spectrum Analyzer

•    Connecting lead

Laboratory 3

Digital Carrier Wave Modulation (ASK, FSK, PSK)

QUIPMENT NEEDED:

•    Modulation Board

•    Demodulation Board

•    Digital Oscilloscope

Laboratory 4

Pulse Code Modulation

QUIPMENT NEEDED:

•    Modulation Board

•    Demodulation Board

•    Digital Oscilloscope

EE4304 - Digital Logic Design  - e;ectronics and meauremnt lab

Laboratory 1

Design of a Combinational Logic Circuit

COMPONENT NEEDED:

1.   74151 8x1 Multiplexer IC

1

2.   7447 BCD-to-7-Segment Decoder IC

1

3.   7-Segment LED Display

1

4.   Other Logic Gates (NOT, 3-input AND gates and etc.)

5.   Bread Board

Laboratory 2

Design a Synchronous Sequential Logic Circuit

COMPONENT NEEDED:

a.   DM7474 Dual Positive-Edge-Triggered D FF                        1

b.   Basic Logic Gates

c.   Breadboard

Laboratory 3

Characteristics of Different Logic Families

COMPONENT NEEDED:

•    CD4001 IC

1

•    74LS00 IC

1

•    Oscilloscope

1

•    Function Generator

1

• Other Logic Gates

•    Breadboard

EE4304 – Electric Machines I  - Electric machines lab

Laboratory 1

Output Characteristics of DC Machines

EQUIPMENT NEEDED:

Ammeter - 1 nos (10 A, DC)

Brake Machine, DC Machine SM2641

Voltmeter - 1 nos (100 V, DC)

Load resistor SM2676

Power supply unit SM2631

Torque measuring unit MV1052

Terminal board SM2635

Laboratory 2

Synchronous Generator Model Parameters

EQUIPMENT NEEDED:

Ammeter    3 nos (1 A, AC)

DC machine SM2641

Ammeter    1 nos (1 A, DC)

Load resistor SM2676

Voltmeter   1 nos (400 V, AC)

Torque measuring unit MV1052

Voltmeter   1 nos (100 V, DC)

AC machine SM2645

Power supply unit SM2631

Terminal board SM2635

Load switch

Laboratory 3

Study on Single Phase Transformer

EQUIPMENT NEEDED:

    Single phase transformer 230/115V, 1.0 kVA, 50Hz

    Auto transformer (input 240V, output 0-260V, 2.08 kVA, 8 A)

    Voltmeter (0-300V) ac

    Ammeter (0-10 A) ac

    Wattmeter

    Power factor meter    Resistive Load, Inductive load, Capacitive load